## Slide 1
Inspiratory Arm
Expiratory Arm
Ventilator
Inspiratory Splitter Box
Expiratory Splitter Box
A
B
Filter
Filter
Patient A Tubing
Patient B Tubing
A
B
Filter
Filter
Patient A Tubing
Patient B Tubing
This design will allow a modern ventilator to have a splitter. The key innovation here came from the Differential Multiventilation group– the Bias Circuit. That circuit bypasses the compensatory electronics inside the ventilator. Ventilators without those electronics will not need that bias circuit. Inspiratory and Expiratory Splitter Boxes are on the pages to follow. #project-4-way-ventilator, Helpful Engineering (rev v 25 April 2020)
Bias Circuit

## Slide 2
Ventilator Splitter Box (VSB)
Inspiratory Section
Inspiratory Arm
Expiratory Arm
Ventilator
Patient 4 Flow Control
Expiratory Section
P1 Shutoff
P1 Flow Meter
P1 PEEP
P2 Shutoff
P2 Flow Meter
P2 PEEP
P3 Shutoff
P3 Flow Meter
P3 PEEP
P4 Shutoff
P4 Flow Meter
P4 PEEP
Patient 3 Flow Control
Patient 2 Flow Control
Patient 1 Flow Control
P1 Inspiration
P2 Inspiration
P3 Inspiration
P4 Inspiration
P1 Expiration
P2 Expiration
P3 Expiration
P4 Expiration
VSP VSB Schematics v8
25 April 2020
1-Way Valve
1-Way Valve
1-Way Valve
1-Way Valve
Bias Circuit
1-Way Valve
1-Way Valve